## AEC_ICS_IOT_Shodan_dorks.CSV
Vendor | Product | Comment | Dorks,,
ABB | AC 800M | Controller | ABB AC 800M,,
ABB | RTU560 | Substation automation product | ABB RTU560,,
ABB | RTU500 | Remote Terminal Unit | ABB RTU-Helpdesk,,
ABB | SREA-01 | Ethernet Adapter Module | ABB SREA-01,,
ABB | Generic | Multiple Devices | ABB Webmodule,,
ACKP | Generic | Multiple Devices, often data center monitoring | AKCP Embedded Web Server,
Adcon Telemetry | A440 Wireless Modem | Base Station | A440 Wireless Modem,,
Adcon Telemetry | A850 Telemetry Gateway | Base Station for Adcon Wireless Sensor Networks | A850 Telemetry Gateway,,
Adcon Telemetry | addUPI-OPC Server | . | addUPI Server,,
Adcon Telemetry | addVANTAGE Pro 6.X | HMI | addVANTAGE,,
Adcon Telemetry | Generic | Generic | title:adcon,,
Beck IPC | IPC@CHIP | PLC | IPC@CHIP,,
Cimetrics | Eplus - B/IP to B/WS Gateway Firewall | networking products for distributed monitoring and control systems | Cimetrics Eplus Web Server,,
Clorius Controls A/S | ISC SCADA | SCADA Software | ISC SCADA Service HTTPserv:00001,,
Codesys | WebVisu | . | Webvisu,,
CodeSys | WebVisu | . | Visu Remote Login,,
Codesys | . | . | port:2455 operating system,,
CodeSys | . | . | 3S-Smart Software Solutions,,
Delta Controls | enteliTOUCH | HMI Building automation | DELTA enteliTOUCH,,
Echelon | i.LON SmartServer 2.0 | Building Energy Management Solution, LonWorks/IP Server, Internet Server | i.LON
General Electric | CIMPLICITY WebView | CIMPLICITY is HMI/SCADA | CIMPLICITY WebView,,
General Electric | Cimplicity | CIMPLICITY is HMI/SCADA | CIMPLICITY-HttpSvr,,
General Electric | Proficy | Historian (now named GE Digital) | ProficyPortal,,
General Electric;.;Service Request Transport Protocol (GE-SRTP);"port:18245,"18246 product:""""general electric""""""",
Generic | . | Modus | port:502,,
Generic | . | dnp | port:20000 source address,,
Generic | . | BACnet protocol (Data Communication Protocol for Building Automation and Control Networks) | port:47808,,
Generic | - | EtherNet/IP | port:44818,,
Generic | . | The HART Communications Protocol (Highway Addressable Remote Transducer Protocol) is an early implementation of Fieldbus, a digital industrial automation protocol. | port:5094 hart-ip,
Generic | goAhead embedded webserver | . | GoAhead-Webs InitialPage.asp,,
Generic | . | . | Modbus Bridge,,
Generic | . | . | ModbusGW,,
Generic | Generic | Generic | PLC type,,
Generic | Generic | Generic | PLC name,,
Generic | Industrial Ethernet system, open-source used by various vendoes | openPowerlink, ethernet-powerlink.org devices (PLC HMI ..) | Powerlink
Generic | . | . | SCADA,,
Generic | . | . | webSCADA,,
HMS | EtherNet/IP / Modbus-TCP Interface | Generic | HMS AnyBus-S WebServer,,
Honeywell EnergyICT | eiPortal | Energy Monitoring Software | eiPortal,,
Honeywell EnergyICT | RTU | Remote Data Concentrator | EnergyICT RTU,,
KW Software, Inc. | . | ProConOS / PLC | port:20547 PLC,
Lantronix | . | . | lantronix,,
Lantronix | . | default telnet port | lantronix port:9999,,
Lantronix | . | . | port:30718 lantronix,,
Mitsubishi Electric | MELSEC-Q Series | . | port:5006,5007 product:mitsubishi,
Motorola | Moscad | . | Moscad ACE,,
Movicon/Progea | . | Web-Client | MovWebClientX,,
Moxa | ioLogik Web Server | SCADA Software | ioLogik Web Server,,
Moxa | Nport and OnCell devices | . | port:4800 'Moxa Nport',,
Moxa | Nport devices | . | title:'NPort web console',,
Moxa | AirWorks AWK-3131-RCC/Railway Remote I/O (ioLogik E12xx)/Cellular Micro RTU Controller (ioLogik W53xx, ioLogik)/VPort 461 Industrial Video Encoder/IA240 Embedded computer/IA241 Embedded computer/OnCell Central Manager/EDS-505A Series/EDS-508A Series/OnCell G3100 Series/Generic | generic | MoxaHttp,
Moxa | OnCell devices | . | port:4800 'OnCell',,
NRG Systems | WindCube | Wind Speed Meter | WindWeb,,
Omron | . | FINS, Factory Interface Network Service, | port:9600 response code
Phoenix Contact GmbH | . | SCADA visualization system | Visu+ Web Client,,
Phonix Contact | . | PCWorxs | port:1962 PLC,,
Phonix Contact | AXC is a modular small-scale controller for the Axioline I/O system | PCWorxs | PLC Type: AXC,,
Phonix Contact | ILC controllers | PCWorxs | PLC Type: ILC,,
Quantum | . | Multiple Devices | Quantum BACnet,,
Rabbit | Z-World Rabbit | Multiple Devices | title:phasefale Z-World Rabbit,,
Rabbit | Generic | Multiple Devices | Z-World Rabbit,,
Red Lion Controls;.;Red Lion Controls G306a human machine interface (HMI).;"port:789 product:""Red Lion Controls""",,
Reliance | Reliance 4 SCADA/HMI system | SCADA/HMI Software | Reliance 4 Control Server,,
Rockwell Automation | Generic | Generic | Rockwell Automation,,
Rockwell Automation / Allen-Bradley | Generic | Generic | Allen-Bradley,,
Rockwell Automation / Allen-Bradley | . | small programmable logic controller solution | Micrologix,,
Rockwell Automation / Allen-Bradley | Generic | Generic | Series C Revision,,
RTS Services | General | SCADA Software | RTS SCADA Server,,
SBC | . | Saia Burgess Control Applet | IMasterSaia5_15_03.jar,,
SBC | . | . | Saia PG5 Web Editor,,
Schleifenbauer | SPbus gateway | Network Gateway | Schleifenbauer SPbus gateway,,
Schneider Electric | CitectSCADA | HMI / SCADA software package | CitectSCADA,,
Schneider Electric | Generic | SCADA software | ClearSCADA,,
Schneider Electric | PowerLogic EGX | EGX100MG | EGX100MG,,
Schneider Electric | Modicon | generic | Modicon,,
Schneider Electric | Modicon M340 | PLC | Modicon M340,,
Schneider Electric | PowerLogic ION7650 Energy and power meter | Energy and power meter | port:23 'Meter ION',,
Schneider Electric | Generic | Energy and power meter | Power Measurement Ltd,,
Schneider Electric | PowerLogic Series | Power Monitoring Module | PowerLogic,,
Schneider Electric | generic | generic | Schneider Electric,,
Schneider Electric | General | Multiple Devices | Schneider-WEB,,
Schneider Electric | Modicon | generic | TELEMECANIQUE BMX,,
Schneider Electric | Generic | Generic | title:PowerLogic,,
Schneider Electric | EGX300 | . | Schneider Electric EGX300,,
Siemens | Simatic HMI | HMI | HMI XP277,,
Siemens | Simatic S7-1200 | PLC | Portal0000,,
Siemens | Simatic S7-300 (pre-2009 versions) | PLC | Portal0000.htm,,
Siemens | Simatic S7-200 | PLC | S7-200,,
Siemens | Simatic S7-300 | PLC | S7-300,,
Siemens | Scalance generic | SCALANCE X Industrial Ethernet switches / SCALANCE W Industrial Wireless LAN / SCALANCE M Industrial routers / SCALANCE S Industrial Security | Scalance,,
Siemens | Generic | Generic | Copyright: Original Siemens Equipment,,
Siemens | Simatic HMI | Generic | Simatic,,
Siemens | Simatic HMI | Generic | Welcome to the Windows CE Telnet Service on HMI_Panel,,
Siemens | Simatic | . | XP277,,
Siemens | PLC | port can not be deactivated by user | port:102,,
Sierra Wireless | . | . | /gc/flash.php,,
SoftPLC | . | . | SoftPLC,,
Somfy | General | Smart Home Devices | title:Somfy,,
SpiderControl | Generic | HMI | SpiderControl,,
Stulz GmbH | Generic | Generic | Stulz GmbH Klimatechnik,,
Trend | IQ3xcite | Controller | server: iq3,,
Tridium | . | Fox protocol developed as part of Niagara framework | port:1911,4911 product:Niagara,
Tridium | NiagaraAX (ver 1) | Software for JACE-2 JACE-403 or JACE-545 | Niagara Web Server,,
Tridium | NiagaraAX (ver 2) | Software for JACE-2 JACE-403 or JACE-545 | niagara_audit,,
Tridium | NiagaraAX (ver 3) | Software for JACE-2 JACE-403 or JACE-545 | niagara_audit -login,,
Tridium | Niagara Framework | . | Niagara-Platform: QNX,,
Tridium | Niagara Framework | . | os.name=s:QNX,,
Trihedral | . | VTScada ODBC Server | Server: VTScada,,
Wago | Generic | Generic | title:WAGO,,
Wind River | VxWorks | SCADA Software | VxWorks,,
Wind River | Generic | Generic | WindRiver-WebServer,,
Xzeres | 442SR | small wind turbine | title:'xzeres wind',,
Generic | . | IEC 60870 part 5 is one of the IEC 60870 set of standards which define systems used for SCADA in electrical engineering and power system automation applications. | port:2404 asdu address,,
Carel | pCO sistema | pCOWeb is used to interface pCO Sistema to networks that use the HVAC protocols like BACnet IP Modbus TCP/IP or SNMP | title:'Carel pCOWeb Home Page',,
Heatmiser | . | wireless room thermostats | title:'Heatmiser Wifi Thermostat',,
generic | . | searching tag values requires suitable account | tag:ics,,
generic | . | searching tag values requires suitable account | tag:iot,,
Tridium;BACNet Devices;.;"""Local BACnet Device object"" ""Tridium""",,
Carel;BACNet Devices;.;"""Carel BACnet Gateway""",,
Siemens;BACNET Devices;.;"""Siemens BACnet Field Panel""",,
generic;BACNet Devices;.;"""BACnet Broadcast Management Device""",,
Veeder-root | . | Automated Tank Gauge (Vendor most likely Veeder-Root but not guaranteed) results typically contain a lot of honyepots (conpot) | I20100 port:10001,,
Generic | . | Screenshots tagged as ICS (will contain some false positives) | screenshot.label:ics,,
Generic;.;standard port for MQTT + MQTT banner / MQTT -> MQ Telemetry Transport;"port:1883 ""MQTT Connection Code""",,
Generic;.;standard port for MQTT over SSL + MQTT banner / MQTT -> MQ Telemetry Transport / UNTESTED;"port:8883 ""MQTT Connection Code""",,
Fronius | Generic | solar energy, most likely inverters | port:1883 Fronius,
Lantronix;.;default telnet port without password enabled hint: Lantronix includes MAC address in banner which can be used for extra validation ;"""Press Enter for Setup Mode"" port:9999",,
Carel;PlantVisor;.;"""Server: CarelDataServer"" ""200 Document follows""",,
Nordex;.;Wind Farm Portal;"http.title:""Nordex Control"" ""Windows 2000 5.0 x86"" ""Jetty/3.1 (JSP 1.1; Servlet 2.2; java 1.6.0_14)""",,